## Exemption Declaration
High-Performance Green Buildings |  | Received by DES: | Date:
Exemption Declaration |  |  | Submit to: | Sustainability@des.wa.gov
Project Name: |  |  | Agency/Institution
Project Number:
| Name | Agency | Phone |  | E-Mail
Submitted By:
Conceptual Construction Cost Estimate
Total Facility Square Footage Estimate
Project Location/Address
Facility Type Exemption* |  | Exempt Space | Agency Representative Signature Block
Approx. %
Transmitter Building
Pumping Station
Hospital (not including skilled nursing) |  |  | Signature
Research Facilities with Laboratories |  |  | Name:
Title:
"Not Practicable" Exemption** |  |  | Agency Representative Signature Block
Yes/No
The project will seek US Green Bldg. Council LEED Certification***
The project will participate in the GA LEED QA process**
The project will take no further action regarding LEED. |  |  | Signature
Name:
Title:
This Exemption Submittal includes the following:
Provide a one page description of why the exemption is being sought on Agency Letterhead.
Provide a LEED Checklist indicating which LEED Credits may be "practicable" for the project. |  |  |  |  | LEED Score attempting
* If a "Facility Type" exemption is requested and verified, no further submittals are required.
** If a "Not Practicable" exemption is requested, the project should pursue LEED to the level that is "practicable" for the project.
Projects are encouraged to participate in the DES LEED QA process and subsequent annual reporting of the
energy and water/sewer consumption to DES. This will demonstrate a "Good Faith" effort consistent with the intent of RCW 39.35D.
Complete the appropriate DES LEED QA forms as the project progresses through the design and construction process.
Feedback from DES will help projects to achieve the proposed LEED goal and will help to maximize utility incentives.
*** If the project continues to seek LEED Certification the project should also participate in the DES LEED QA process.

## Pre-Design-SD Submittal
High-Performance Green Buildings |  | Received by DES: | Date:
Pre-Design/Schematic Design Submittal (submit after the eco-charrette) |  |  | Submit to: | Sustainability@des.wa.gov
Project Name |  |  | Agency/Institution
Project Number
Building Use
| Name | Agency or Firm | Phone |  | E-Mail
Submitted By
Conceptual Construction Cost Estimate
Total Facility Square Footage Estimate
Project Location/Address
Yes / No
Has the project been registered with the US Green Building Council? |  |  |  |  | Begin Construction | End Construction
| Begin SD (Date) | Begin DD (Date) | Begin CD (Date) |  | (Date) | (Date)
Project Schedule
This submittal includes the following:
1 | Provide a completed Environmental Design Considerations form*
2 | Provide an updated LEED Checklist*
* These are required by the new Energy Life Cycle Cost Analysis (ELCCA) process
Provide a list of the following: | Name | Agency or Firm | Phone |  | E-Mail
State Project Manager
Agency Representative
Architect
LEED Submittal Preparation By

## Environ Design Considerations
Figure 3.1 Environmental Design Considerations Form
Environmental Design Consideration
Version 1.1 February 2016
Project Title: |  |  | Date:
Owner: |  |  | Owner's Rep:
Owner's Project No: |  |  | Owner's Phone No:
Owner's E-mail: |  |  | Owner's Fax No:
Completed by: |  |  | Phone No:
Firm: |  |  | E-mail:
Bldg Type:
Approx. sq. ft:
The following are elements of an energy efficient design and can contribute to LEEDTM
points. Check 'Yes' to indicate items that will be considered in the High Performance
Alternative of the Energy Life Cycle Cost Analysis
| Site Considerations |  |  | Yes | No | N/A
1) | Building orientated to optimize energy efficiency
2) | Landscaping to provide solar shading
Envelope
3) | Energy StarTM compliant roof
4) | Roof insulation to meet or exceed R-30 rigid or R-38 batt*
5) | Wall insulation with
| a) | wood studs, R-19 batt insulation*
| b) | metal studs, R-19 and rigid insulation on the exterior*
| c) | mass wall, R-10 rigid insulation*
6) | Windows:
| a) | U=0.45 or lower*
| b) | SHGC=0.45 (reduced cooling load) or lower*
| c) | Exceed 50% Visual Light Transmittance (increased
daylighting)*
7) | Skylights U=0.60 or lower*
8) | Doors U=0.50 or lower*
Lighting
9) | Incorporate daylighting in over 50% of occupied critical
visual task areas
10) | Automated daylight harvesting controls
11) | Lumen maintenance controls (metal halide with electronic balast)
12) | Fluorescent lighting for the gym, multipurpose, commons or other
High Bay application
13) | Lighting power densities will meet or be lower than the following*
| a) | Classroom: 1.15 watts per square foot (w/sf)
| b) | Gym: 1.00 w/sf (1.8 w/sf over competitive area)
| c) | Office: 1.10 w/sf
| d) | Library: 1.30 w/sf
| e) | Corridor: 0.70 w/sf
* Represents ELCCA prescriptive elements
| Renewable Energy |  |  | Yes | No | N/A
14) | Incorporate solar photovoltaic (PV) technology:
| a) | for general building power
| b) | for isolated loads in remote locations (e.g. crosswalks)
15) | Solar water heater
16) | Wind power
17) | Heat recovery systems
18) | Geothermal
Water Conservation
19) | Waterless Urinals
20) | Rain water/gray water collection systems
21) | Water efficient landscaping
22) | Water efficient fixtures
23) | Automated lavatory faucets
HVAC & Electrical
24) | Natural ventilation in lieu of mechanical cooling or partly so
25) | Displacement ventilation
26) | Thermal Storage
27) | Premium efficiency motors
28) | Independent Building Commissioning Agent hired by owner
29) | Variable flow fans and pumping systems
30) | Heat recovery systems (between supply and exhaust)
31) | Evaporative cooling to augment or replace mechanical cooling
32) | High efficiency boilers
33) | High efficiency chillers
Controls
34) | Building automation system
35) | Carbon Dioxide monitoring (gym/multipurpose/commons, etc.)
36) | Demand control ventilation
Uninterruptible Power
37) | Fuel cells for uninterruptible power systems
List other energy efficient items or strategies that will be considered:
Submit to DES by E-Mail: Sustainability@des.wa.gov

## Design Development
High-Performance Green Buildings |  | Received by DES: | Date:
Design Development Submittal (submit at the end of DD) |  |  | Submit to: | Sustainability@des.wa.gov
Project Name |  |  | Agency/Institution
Project Number
| Name | Agency or Firm | Phone |  | E-Mail
Submitted By
This submittal includes the following:
1 | Provide an updated LEED Checklist
2 | Provide a one to three page summary of strategies used to meet LEED Credits

## Construction Documents
High-Performance Green Buildings |  | Received by DES: | Date:
Construction Documents Submittal (submit at 90% CD) |  |  | Submit to: | Sustainability@des.wa.gov
Project Name: |  |  | Agency/Institution:
Project Number:
| Name | Agency or Firm | Phone |  | E-Mail
Submitted By:
This submittal includes the following:
1 | Provide an updated LEED Checklist
2 | Provide a two to four page summary of strategies used to meet LEED Credits
3 | Provide the Energy and Water Metering Plan

## Post Construction
LEED Building Cost and Performance Data
Please complete this form to the best of your ability. This information is best completed by the State Project Manager responsible for the project and/or the Architect. Input data into yellow boxes.
Building Name/City:
Building Gross Square Footage:
Number of Occupants:
Institution/University or Agency Name:
Submitted By Name/Phone:
LEED Level Achieved or (Expected)/Date:
LEED Version Used (e.g. V 2.2 or V 3.0) |  |  | Date:
|  |  | Submit to: | Sustainability@des.wa.gov
Building Cost Data
Consultant Costs | Costs* |  | Overall Cost of LEED
Overall Consultant Fees: | 0 |  | 0
LEED Related Consultant Fees: | 0
Commissioning Fees: | 0 |  | Overall Project Cost (Consultant + Construction)
ELCCA Preparation Fees: | 0 |  | 0
* Use the Application for Payment, Agreement Invoice
Cost of LEED Compared to Overall Costs (%)
#DIV/0!
LEED Submittal Fees: | 0
Building Construction Cost Per Square Foot
Soft Cost of LEED/Overall Consultant Fees (%): | #DIV/0! |  | #VALUE!
Construction Costs | Costs**
Building Demolistion Cost (if applicable): | 0
Site Work & Related Costs: | 0
Building Construction Costs: | 0
Max. Allowable Construction Costs (MACC): | 0 |  | LEED Elements Description
Cost of LEED Element***: | 0 | >
Cost of LEED Element***: | 0 | >
Cost of LEED Element***: | 0 | >
Cost of LEED Element***: | 0 | >
Cost of LEED Element***: | 0 | >
Cost of LEED Element***: | 0 | >
Added LEED Construction Cost: | 0 |  | List Elements not Installed or downsized due to LEED
Savings, Didn't Install Something**** | 0 | >
Savings, Didn't Install Something**** | 0 | >
Savings, Didn't Install Something**** | 0 | >
LEED Related Construction Savings: | 0
Total Added LEED Construction Costs: | 0
Hard Cost of LEED/Overall Construction Costs (%): | #DIV/0!
**Use the Schedule of Values from Construction Invoice and Best Estimates
***Provide a best guess for cost. This could include solar panels, rain water capture system, or other feature that normally won't be pursued if not a LEED project.
****Didn't install something, such as a cooling system or greatly reduced the size due to natural ventilation.
Utility Incentives | Amount ($) |  | Utility Incentives as % of Building Costs
Gas: | 0 |  | #DIV/0!
Electric: | 0
Water: | 0 |  | Describe
Other: | 0 | >
Total Incentives: | 0
LEED Building Performance Information
Total Savings Over Baseline (energy & water) |  |  |  |  | Payback (Yrs)***
0 |  |  |  |  | #DIV/0!
LEED Attribute | Capture this data from the LEED submittal (LEED OnLine)
Energy Effciency and Renewable Energy | Proposed Building |  | % Savings | $ Savings | Baseline Building
| Units | $ |  |  | Units | $
Electricity (kWh) | 0 | 0 | #DIV/0! | 0 | 0 | 0
Gas (Therms) | 0 | 0 | #DIV/0! | 0 | 0 | 0
Renewable Energy, Electricity (kWh) | 0 | 0 | #DIV/0! | 0
Renewable Energy, Heat (Btu) | 0 | 0 | #DIV/0! | 0
Total Btus, Dollars & Percents | 0 | 0 | #DIV/0! | 0 | 0 | 0
Water Efficiency
| Gallons/Yr | $ | % Savings | $ Savings | Gallons/Yr | $
Water Use Reduction (water/sewer*) | 0 | 0 | #DIV/0! | 0 | 0 | 0
Landscape Watering (irrigation water**) | 0 | 0 | #DIV/0! | 0 | 0 | 0
Captured Water (irrigation or interior water) | 0 | 0 | Calculate >> | 0
Total Water Saving | 0 | 0 | #DIV/0! | 0 | 0 | 0
Stormwater Management
Points 0-2
Stormwater Control Quality and Quantity
Alt. Transportation Sources & Walkability
Points
Density & Community Connectivity
Public Transportation
Bike Racks & Showers
Total Points | 0 |  |  | Also Submit:
Construction Waste Recycling |  |  |  | A Case Study
| Tons | % |  | (Template Provided @
Construction Waste Recycled |  |  |  | http://des.wa.gov/services/facilities/Energy/GreenBldg/Pages/default.aspx
Use of Recycled Content Materials
| $ | % |  | Final LEED Scorecard
Recycled Content Materials
Use of Regional Materials
| $ | %
Regional Materials
Protect Forests, Support Sustainable Forestry
| Points |  | * Default value used for water/sewer costs of $6/1000 gallons
Ceterified Wood
Good indoor Air Quality |  |  | **Default value used for irrigation water only $2.50/1000 gallons
Points
Const. IAQ Management Plan |  |  | *** Payback doesn't include many of the intangibles. These can result in greater savings than from energy and water alone. Increased productivity, reductions in sick leave, and worker retention can far outway utility savings. Also environmental benefits can be substantial in moving Washington to its goals. Government must lead by example.
Low-Emitting Materials
Indoor Chemical & Pollutant Source Control
Total Points | 0
Access to Natural Light
Points 0-2
Daylight & Views

## Alternative Wood Compliance
High-Performance Green Buildings |  | Received by DES: | Date:
Alternative LEED Point Compliance Form: Use of Sustainable Forest Initiative 3rd Party Certified or Washington Wood |  |  | Submit to: | Sustainability@des.wa.gov
Project Name |  |  | Agency/Institution
Project Number
| Name | Agency or Firm | Phone |  | E-Mail
Submitted By
Compliance Path Selected (check box):
1) Credible 3rd Party (SFI Certified Wood)
2) Washington Forest Practices Act
Required submittal information:
Complete, print, scan and submit the LEED Template for MR c 7 Certified Wood as if the project
was going to comply with the LEED MR c 7 credit. This is to provide the value ($) compliance calculation.
This must be accompanied by the credible 3rd party documentation or documentation
demonstrating that the wood came from forests regulated under the Washington Forest
Practices Act.
This information should also be scanned and submitted to DES. Submit information by email attachment to: sustainability@des.wa.gov